## Data Dictionary
Column name | Description / Definition | Comments / Examples
Operation Name | Name of site for which energy data pertains
Operation Type | Ontario Regulation 397/11 category for site
Address | Site street address
City | Municipality where site is located
Postal Code | Canadian postal code of site
Floor Area | Gross floor area of building on site
Unit | Unit of measurement for floor area
Average Hrs/Week | Weekly operating hours of operations
Annual Flow (Mega Litres) | Mega litres of water processed by water operations
Electricity Quantity | Total annual consumption for site
Electricity Unit | Unit of measurement
Natural Gas Quantity | Total annual consumption for site
Natural Gas Unit | Unit of measurement
Fuel Oil 1&2 Quantity | Total annual consumption for site
Fuel Oil 1&2 Unit | Unit of measurement
Fuel Oil 4&6 Quantity | Total annual consumption for site
Fuel Oil 4&6 Unit | Unit of measurement
Propane Quantity | Total annual consumption for site
Propane Unit | Unit of measurement
Coal Quantity | Total annual consumption for site
Coal Unit | Unit of measurement
Wood Quantity | Total annual consumption for site
Wood Unit | Unit of measurement
District Heating Quantity | Total annual consumption for site
District Heating Unit | Unit of measurement
District Heating Renewable? | Is energy a renewable source (yes or no)
District Heating – If Yes, enter emission factor | If energy is renewable, enter GHG emissions factor
District Cooling Quantity | Total annual consumption for site
District Cooling Unit | Unit of measurement
District Cooling Renewable? | Is energy a renewable source (yes or no)
District Cooling – If Yes, enter emission factor | If energy is renewable, enter GHG emissions factor
GHG Emissions (Kg) | Total greenhouse gas emissions for site | Calculated fields may differ from Ministry released data due to normalizations
Energy Intensity (ekWh/sqft) | Total energy use per square foot of building space for site | Calculated fields may differ from Ministry released data due to normalizations
Energy Intensity (ekWh/Mega Litre) | Total energy use per mega litre of flow for water operations | Calculated fields may differ from Ministry released data due to normalizations
Building/Operation Identifier | City-generated building identifier
Comments | City-generated category | May differ from Operation Type